## Slide 1: Scientific Tools
Microscope

## Slide 2: Birth of the Microscope
1590
  Zaccharias Janssen and his son Hans experimented with several lenses in a tube and discovered that nearby objects appeared greatly enlarged.
  This became the forerunner of the compound microscope and the telescope.
1609
  In 1609, Galileo, father of modern physics and astronomy, heard of these early experiments, worked on the principles of lenses, and made IMPROVEMENTS.

## Slide 3: Anton Van Leeuwenhoek, 1632-1723
Father of microscopy
Worked in a dry goods store counting threads using a magnifying glass
Learned how to grind lenses and improve their curvature, magnifying up to 270 diameters
First to look and see organisms in a microscope and give descriptions (called animalcules)
  Looked at bacteria, yeast, and pond water

## Slide 4
Leeuwenhoek's microscope design:
A) a screw for adjusting the height of the object being examined
B) a metal plate serving as the body
C) a skewer to impale the object and rotate it
D) the lens itself, which was spherical

## Slide 5: Robert Hooke (1635-1703)
Robert Hooke, considered the English father of microscopy, re-confirmed Leeuwenhoek's discoveries of the existence of tiny living organisms in a drop of water.
Gave the name “cells”
Hooke made a copy of Leeuwenhoek's light microscope and then improved upon his design.

## Slide 6: Time Line (Latest Improvements to Earliest Improvements)
Robert Hooke – Improved on Leeuwenhoek’s design
Leeuwenhoek – Father of Microscopy
Galileo - worked on the principles of lenses
Jannesen – worked on glasses

## Slide 8: Compound Microscope
Compound microscopes uses electric light or mirror
The image seen is two dimensional.
This microscope is the most commonly used. You can see individual cells, even living ones.
It has high magnification.
However, it has a low resolution.
Cost - $150 - $6000

## Slide 9: Compound Light Microscope

## Slide 10: Dissection Microscope
A dissection microscope is light illuminated.
The image that appears is three dimensional.
It is used for dissection to get a better look at the larger specimen.
You cannot see individual cells because it has a low magnification.
Cost - $100 - $1500

## Slide 11: Dissecting Microscope

## Slide 12: Transmission Electron Microscope
The Transmission Electron Microscope, or TEM, was the first type or Electron Microscope to be produced.
The TEM is modeled exactly on the Light Transmission Microscope except a focused beam of electrons are used to ‘see through’ the specimen.
The first Transmission Electron Microscope was developed by Max Knoll and Ernst Ruska in Germany, in the year 1931.

## Slide 13: Transmission Electron Microscope
TEM is electron lighted. This gives a 2-D view.
Thin slices of specimen are obtained. The electron beams pass through this.
It has high magnification and high resolution.
Cost - $50,000 - $100,000

## Slide 14: Scanning Electron Microscope
SEM uses electron lighting. The image is seen in 3-D.
It has high magnification and high resolution.
Cost - $50,000 - $100,000
The first Scanning Electron Microscope (SEM) debuted in 1942.

## Slide 15: Microscope Care
Always carry with 2 hands
Do not force knobs
Always store covered
Keep objects clear of desk and cords

## Slide 16: Microscope Parts – Label Now
Eyepiece
Body Tube
Nosepiece
Arm
Objective Lens – 4x
Stage
Stage Clips
Coarse Focus
Fine Focus
Base
Iris Diaphragm
Light
Objective Lens – 10x
Objective Lens – 40x
Notes: This is the exact version of the microscope used in class. Students will be identifying the parts on the microscopes at their desks as we go along and what their functions are.

## Slide 17: Microscope Part Functions
Body tube - maintains the proper distance between the eyepiece and the objectives.
Nosepiece - holds the objectives and can be rotated to change the magnification of the microscope.
Objective Lens - Provides a magnification of 4X and is the shortest objective.
Objective Lens - Provides a magnification of 10X.
Objective Lens - Provides a magnification of 40X and is the longest objective.
Stage Clips - Holds microscope slides in place.
Iris Diaphragm - Regulates the light passing up towards the eyepiece.
Light Source - Sometimes called the illuminator produces/ reflects light up toward the eyepiece.
Ocular Lens (Eyepiece) - Contains a 10X magnifying lens for seeing objects.

## Slide 18: Microscope Part Functions
Arm - Supports the body tube; correct location for holding microscope.
Stage - Supports the microscope slide being observed.
Coarse Adjustment Knob - Moves body tube/stage up and down to focus image (low objective ONLY!!!)
Fine Adjustment Knob - Moves body tube/ stage slightly to sharpen image (medium or high objective)
Base - Supports the microscope.

## Slide 19: Using the Microscope
Place the Slide on the Microscope
Use Stage Clips
Click Nosepiece to the lowest (shortest) setting
Look into the Eyepiece
Use the Coarse Focus
Notes: Give students a slide from the “common things” set, each student will practice focusing and changing objectives.

## Slide 20: Using High Power
Follow steps to focus using low power
Click the nosepiece to the longest objective
Do NOT use the Coarse Focusing Knob
Use the Fine Focus Knob to bring the slide
What can you find on your slide?
Notes: Have students exchange slides so they can look at different things, walk them through using the high power objective to focus slides. Emphasize not using the coarse objective during this process, as it will crack the slides.

## Slide 21
What’s my power?
To calculate the power of magnification, multiply the power of the ocular lens by the power of the objective.
Total magnification = eyepiece x objective
What are the powers of magnification for each of the objectives we have on our microscopes?
Fill in the answer on your lecture guide.

## Slide 22
Comparing Powers of Magnification
We can see better details with higher the powers of magnification, but we cannot see as much of the image.
Which of these images would be viewed at a higher power of magnification?

## Slide 23: Magnification versus Resolution
Magnification is the process of enlarging an object in its appearance, and NOT in its physical size.
Resolution is the sharpness or amount of detail in an image.

## Slide 24: Let’s give it a try ...
1 – Turn on the microscope and then rotate the nosepiece to click the red-banded objective into place.
2 – Place a slide on the stage and secure it using the stage clips. Use the coarse adjustment knob (large knob) to get it the image into view and then use the fine adjustment knob (small knob) to make it clearer.
4 – When you are done, turn off the microscope and put up the slides you used.
3 – Once you have the image in view, rotate the nosepiece to view it under different powers. Draw what you see on your worksheet!
Be careful with the largest objective! Sometimes there is not enough room and you will not be able to use it!